NIU Construction Standards

Division 08 9000 – Louvers and Vents

March 2014, Rev 00





All exterior louvers to have insect screens.

These should be provided and installed by the mechanical contractor.

Louvers and Vents Div 08 9000 Page 1 of 1