NIU Construction Standards

Division128 4813 – Entrance Floor Mats and Frames

March 2014, Rev 00



Roll out mats, grills or grates are to be used, reviewed with NIU Project Manager. In the case of grills and grates, slotted systems must be included to allow for cleaning.

Entrance Floor Mats and Frames Div 12 4813 Page 1 of 1