NIU Construction Standards

Division 32 1400– Unit Paving

March 2014, Rev 00



NIU has standard colors, sizes and preferred cross sections for installation of unit pavers to be used on campus – coordinate with NIU Project Manager and Campus Planning Coordinator.

NIU encourages the use of permeable pavers.



Unit Paving Div 32 1400 Page 1 of 1